## Server storage sizing
Rappel formule
(days * hosts * hostgroup * hostcategory * liveservices * 71) / 1024 / 1024 / 1024
(months * hostgroup * hostcategory * 89) / 1024 / 1024 / 1024
(days * hostgroup * hostcategory * services * servicecategory * liveservices * 2110) / 1024 / 1024 / 1024
|  | Fill the cells : |  |  |  |  | (months * hostgroup * hostcategory * servicecategory * 2120) / 1024 / 1024 / 1024
Parameters | Values | [5 empty] | (months * months_incidents * hostgroup * hostcategory * services * servicecategory * 39) / 1024 / 1024 / 1024
Total monitored hosts | 1000 | [5 empty] | (months * months_incidents * hostgroup * hostcategory * hosts * 39) / 1024 / 1024 / 1024
Total monitored services | 30000 | [5 empty] | (days * 24 * hostgroup * hostcategory * services * servicecategory * metrics * 3105) / 1024 / 1024 / 1024
Average number of host groups associated to one host | 1 | [5 empty] | (days * hostgroup * hostcategory * services * servicecategory * metrics * 4131) / 1024 / 1024 / 1024
Average number of host categories associated to one host | 2
Average number of service categories associated to one service | 2
Number of timeperiods on which statistics will be calculated | 3
Average number of service alarms by month (by service) | 15
Average number of host alarms by month (by host) | 5
Average number of metrics by service | 2
Average service check interval in minutes | 5
Coef (between 2 and 2,8)
2.8
Type of data processed | Data granularity | Data retention duration (in month) | Size Estimated (MB) | Rows estimated | Avg row size | Index/Line (worst case)
Host availability | day | 6 | 151.1307 | 1116000 | 72 | 70
Host group availability | month | 24 | 0.047571 | 144 | 254 | 92.4
Service availability | day | 6 | 9450.9888 | 66960000 | 78 | 70
Availability of services agregated by host groups | month | 24 | 0.058063 | 288 | 119 | 92.4
Services events | second | 6 | 4844.9707 | 32400000 | 56 | 100.8
Host events | second | 6 | 30.3497 | 180000 | 76 | 100.8
Performance data by metric | hour | 3 | 66003.6621 | 535680000 | 62 | 67.2
Performance data by metric | day | 6 | 18135.6812 | 133920000 | 72 | 70
Performance data by metric | second | 1 | 14304.1992 | 535680000 | 14 | -
Total in MB |  |  | 112921.088